## Sheet1
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123 - Muswellbrook, NSW 2333
Environmental Monitoring Report
Monthly PM10 Results
March 2014
Date Obtained: 21 March 2014 | Tapered Element Oscillating Microbalance TEOM Daily 24-hour Average (µg/m3 - micrograms per cubic meter) |  | Beta Attenuation Monitor BAM Daily 24 hr average (µg/m3)
Date Published: 4 April 2014
Date | Site 1 Queen Street | Site 2 Sandy Creek Rd | Site 3 Intersection of Sandy Creek Rd & St Heliers Rd
2014-03-01 | 11 | 10.7 | 9.982
2014-03-02 | 11.2 | 10.7 | 8.915
2014-03-03 | 9.9 | 9.4 | 8.736
2014-03-04 | 10.2 | 10.3 | 7.591
2014-03-05 | 15.8 | 15.9 | 9.531
2014-03-06 | 19.4 | 20.2 | 16.72
2014-03-07 | 25.5 | 26 | 21.2
2014-03-08 | 14.5 | 13.8 | 22.07
2014-03-09 | 16.4 | 15.7 | 11.93
2014-03-10 | 18.6 | 18.8 | 11.75
2014-03-11 | 20.5 | 18.5 | 15.03
2014-03-12 | 19.6 | 19.7 | 15.56
2014-03-13 | 24.1 | 22.9 | 17.19
2014-03-14 | 17.4 | 19.1 | 20.9
2014-03-15 | 10.7 | 10.8 | 17.63
2014-03-16 | 14.2 | 13.8 | 6.085
2014-03-17 | 10.5 | 10.9 | 14.16
2014-03-18 | 15.9 | 20.8 | 7.402
2014-03-19 | 26.8 | 28.6 | 13.52
2014-03-20 | 14.8 | NR | 24.52
2014-03-21 | 15.3 | 13.7 | 14.8
2014-03-22 | 11.9 | 10.9 | 11.99
2014-03-23 | 19.2 | 21.9 | 7.862
2014-03-24 | 20.1 | 18.7 | 17.3
2014-03-25 | 13.3 | 14.3 | 15.56
2014-03-26 | 12 | 11.4 | 13.24
2014-03-27 | 7.4 | 8.1 | 13.03
2014-03-28 | 9 | 8.9 | 6.883
2014-03-29 | 7.9 | 8.6 | 6.61
2014-03-30 | 16.4 | 15.9 | 5.226
2014-03-31 | 17.8 | 16.7 | 13.93
Annual 24-hr Average (July-June) | 18.5693 | 20.1972 | 18.8196
Comments:
Criteria for the Daily 24-hour Average is <50 µg/m3 Criteria for the Annual 24-hour Average is <30 µg/m3 Values in red indicate criteria have not been met NR = no result, BAM unit at Site 3: Geiger counter failure, item was replaced on 1 Feb 2014