## Sheet1
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123 - Muswellbrook, NSW 2333
Environmental Monitoring Report
Monthly PM10 Results
May 2014
Date Obtained: 2 June 2014 | Tapered Element Oscillating Microbalance TEOM Daily 24-hour Average (µg/m3 - micrograms per cubic meter) |  | Beta Attenuation Monitor BAM Daily 24 hr average (µg/m3)
Date Published: 2 June 2014
Date | Site 1 Queen Street | Site 2 Sandy Creek Rd | Site 3 Intersection of Sandy Creek Rd & St Heliers Rd
2014-05-01 | 14.5 | 13.8 | 10.7
2014-05-02 | 13.5 | 12.5 | 8.7
2014-05-03 | 8 | 8.3 | 5.6
2014-05-04 | 7.4 | 7.9 | 4.5
2014-05-05 | 7.5 | 8.2 | 5.1
2014-05-06 | 10.1 | 10.5 | 6.4
2014-05-07 | 15.7 | 15.5 | 12.9
2014-05-08 | 18.8 | 16.8 | 17.1
2014-05-09 | 15.7 | 14.2 | 13
2014-05-10 | 15.4 | 14.5 | 10.7
2014-05-11 | 10.3 | 9.9 | 8.1
2014-05-12 | 11.7 | 12.5 | 10.2
2014-05-13 | 18.6 | 16.5 | 14.4
2014-05-14 | 22 | 15.3 | 13.1
2014-05-15 | NR | 10.8 | 8.9
2014-05-16 | 10.3 | 10.7 | 8.1
2014-05-17 | 12 | 11.6 | 8.2
2014-05-18 | 14.4 | 14.1 | 10.1
2014-05-19 | 14 | 14.3 | 9.8
2014-05-20 | 13.9 | 15.3 | 10.3
2014-05-21 | 18.3 | 18.7 | 14
2014-05-22 | 16.8 | 16.5 | 11.9
2014-05-23 | 17.1 | 17 | 11.7
2014-05-24 | 13.5 | 14.5 | 9.2
2014-05-25 | 14.2 | 14.7 | 9.8
2014-05-26 | 15.1 | 15.9 | 11.2
2014-05-27 | 18.6 | 20.1 | 13.5
2014-05-28 | 11.5 | 11.8 | 8.2
2014-05-29 | 12.9 | 17 | 21
2014-05-30 | 16.5 | 15.4 | 19.7
2014-05-31 | 9.7 | 11.7 | 9.8
Annual 24-hr Average (July-June) | 17.9 | 19 | 17.6
Comments:
Criteria for the Daily 24-hour Average is <50 µg/m3 Criteria for the Annual 24-hour Average is <30 µg/m3 Values in red indicate criteria have not been met NR = no result, BAM unit at Site 3: Geiger counter failure, item was replaced on 1 Feb 2014