## January 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-01-01
|  | Date Obtained: | 2020-02-12
|  | Date Published: | 2020-02-12
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-01-09 | 7.81 | 7400
| MCC12 - Final Settling Pond | 2020-01-09 | 8.56 | 10500
| No.1 Open Cut Void | 2020-01-09 | NA | NA
| No.2 Open Cut Void | 2020-01-09 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-01-09 | 7.74 | 16200
| MCC8 - Muscle Creek (downstream) | 2020-01-09 | 7.9 | 9220
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-01-09 | 6.9 | 6290 | 128.32
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## February 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-02-01
|  | Date Obtained: | 2020-03-09
|  | Date Published: | 2020-03-11
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-02-04 | 7.83 | 7720
| MCC12 - Final Settling Pond | 2020-02-04 | 8.54 | 11000
| No.1 Open Cut Void | 2020-02-04 | NA | NA
| No.2 Open Cut Void | 2020-02-04 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-02-04 | 7.76 | 24500
| MCC8 - Muscle Creek (downstream) | 2020-02-04 | 7.87 | 10200
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-02-04 | 7 | 6170 | 127.9
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## March 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-03-01
|  | Date Obtained: | 2020-04-15
|  | Date Published: | 2020-04-20
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-03-16 | 7.85 | 7010
| MCC12 - Final Settling Pond | 2020-03-16 | 8.24 | 5650
| No.1 Open Cut Void | 2020-03-16 | NA | NA
| No.2 Open Cut Void | 2020-03-16 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-03-16 | 7.31 | 14000
| MCC8 - Muscle Creek (downstream) | 2020-03-16 | 7.79 | 6000
QUARTERLY (March, June, September, December)
| MCC9 - Brickworks Dam 1 | 2020-03-16 | 8.11 | 374
| MCC23 - E. Emplacement Dam (south) | 2020-03-16 | 8.55 | 15000
| MCC24 - E. Haul Road Dam | 2020-03-16 | 7.89 | 921
| MCC25 - E. Emplacement Dam (north) | 2020-03-16 | Dry | Dry
| MCC26 - Blues Crusher Dam | 2020-03-16 | 8.69 | 2720
| MCC27 - Dam 3 | 2020-03-16 | 8.78 | 14700
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-03-16 | 7.03 | 6960 | 127.36
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## April 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-04-01
|  | Date Obtained: | 2020-05-08
|  | Date Published: | 2020-05-12
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-04-02 | 8.05 | 6740
| MCC12 - Final Settling Pond | 2020-04-02 | 8.76 | 5470
| No.1 Open Cut Void | 2020-04-02 | NA | NA
| No.2 Open Cut Void | 2020-04-02 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-04-02 | 7.07 | 13600
| MCC8 - Muscle Creek (downstream) | 2020-04-02 | 8.03 | 6500
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-04-02 | 7.03 | 6150 | 124.24
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## May 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-05-01
|  | Date Obtained: | 2020-06-10
|  | Date Published: | 2020-06-11
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-05-13 | 7.92 | 6890
| MCC12 - Final Settling Pond | 2020-05-13 | 8.76 | 5390
| No.1 Open Cut Void | 2020-05-13 | NA | NA
| No.2 Open Cut Void | 2020-05-13 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-05-13 | 6.97 | 14200
| MCC8 - Muscle Creek (downstream) | 2020-05-13 | 7.63 | 5780
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-05-13 | 7.03 | 6080 | 126.93
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## June 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-06-01
|  | Date Obtained: | 2020-07-08
|  | Date Published: | 2020-07-13
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-06-02 | 7.92 | 7030
| MCC12 - Final Settling Pond | 2020-06-02 | 8.53 | 5170
| No.1 Open Cut Void | 2020-06-02 | NA | NA
| No.2 Open Cut Void | 2020-06-02 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-06-02 | 6.94 | 13100
| MCC8 - Muscle Creek (downstream) | 2020-06-02 | 7.71 | 7040
QUARTERLY (March, June, September, December)
| MCC9 - Brickworks Dam 1 | 2020-06-02 | 8.5 | 299
| MCC23 - E. Emplacement Dam (south) | 2020-06-02 | 8.74 | 14000
| MCC24 - E. Haul Road Dam | 2020-06-02 | 7.62 | 638
| MCC25 - E. Emplacement Dam (north) | 2020-06-02 | Dry | Dry
| MCC26 - Blues Crusher Dam | 2020-06-02 | 9.6 | 1870
| MCC27 - Dam 3 | 2020-06-02 | 8.48 | 12800
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-06-02 | 7.1 | 6020 | 126.85
Comments: No.1 and No. 2 Open Cut Voids were inaccessible (sample not required).
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## July 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-07-01
|  | Date Obtained: | 2020-08-12
|  | Date Published: | 2020-08-12
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-07-07 | 7.87 | 6520
| MCC12 - Final Settling Pond | 2020-07-07 | TLTS | TLTS
| No.1 Open Cut Void | 2020-07-07 | NA | NA
| No.2 Open Cut Void | 2020-07-07 | 7.64 | 3680
| MCC7 - Muscle Creek (upstream) | 2020-07-07 | 6.96 | 11800
| MCC8 - Muscle Creek (downstream) | 2020-07-07 | 7.75 | 6670
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-07-07 | 7.3 | 6350 | 126.81
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## August 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-08-01
|  | Date Obtained: | 2020-09-09
|  | Date Published: | 2020-09-09
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-08-04 | 8.21 | 5250
| MCC12 - Final Settling Pond | 2020-08-04 | 8.14 | 2170
| No.1 Open Cut Void | 2020-08-04 | NA | NA
| No.2 Open Cut Void | 2020-08-04 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-08-04 | 7.3 | 1080
| MCC8 - Muscle Creek (downstream) | 2020-08-04 | 7.45 | 1340
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-08-04 | 7.5 | 5590 | 126.49
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## September 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-09-01
|  | Date Obtained: | 2020-10-09
|  | Date Published: | 2020-10-13
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-09-08 | 7.85 | 7130
| MCC12 - Final Settling Pond | 2020-09-07 | 8.76 | 3230
| No.1 Open Cut Void | 2020-09-07 | NA | NA
| No.2 Open Cut Void | 2020-09-07 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-09-07 | 7.57 | 1280
| MCC8 - Muscle Creek (downstream) | 2020-09-07 | 7.55 | 3080
QUARTERLY (March, June, September, December)
| MCC9 - Brickworks Dam 1 | 2020-09-07 | 8.75 | 594
| MCC23 - E. Emplacement Dam (south) | 2020-09-07 | 9 | 4680
| MCC24 - E. Haul Road Dam | 2020-09-07 | 8.3 | 596
| MCC25 - E. Emplacement Dam (north) | 2020-09-08 | 7.53 | 803
| MCC26 - Blues Crusher Dam | 2020-09-07 | 7.64 | 1420
| MCC27 - Dam 3 | 2020-09-07 | 8.9 | 5660
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-09-08 | 6.9 | 5860 | 126.05
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## October 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-10-01
|  | Date Obtained: | 2020-11-09
|  | Date Published: | 2020-11-09
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-10-06 | 7.82 | 6990
| MCC12 - Final Settling Pond | 2020-10-06 | 8.47 | 3910
| No.1 Open Cut Void | 2020-10-06 | NA | NA
| No.2 Open Cut Void | 2020-10-06 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-10-06 | 7.51 | 1980
| MCC8 - Muscle Creek (downstream) | 2020-10-06 | 7.61 | 4940
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-10-06 | 7.1 | 6170 | 126.01
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## November 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-11-01
|  | Date Obtained: | 2020-12-09
|  | Date Published: | 2020-12-09
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-11-10 | 7.91 | 6680
| MCC12 - Final Settling Pond | 2020-11-10 | 8.7 | 3280
| No.1 Open Cut Void | 2020-11-10 | NA | NA
| No.2 Open Cut Void | 2020-11-10 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-11-10 | 7.52 | 1000
| MCC8 - Muscle Creek (downstream) | 2020-11-10 | 7.73 | 1460
QUARTERLY (March, June, September, December)
MCC9 - Brickworks Dam 1
MCC23 - E. Emplacement Dam (south)
MCC24 - E. Haul Road Dam
MCC25 - E. Emplacement Dam (north)
MCC26 - Blues Crusher Dam
MCC27 - Dam 3
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-11-10 | 7.1 | 5790 | 126.01
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water

## December 2020 WATER
Muswellbrook Coal Company Limited (EPL No. 656)
PO Box 123, Muswellbrook NSW 2333
Environmental Monitoring Report
WATER QUALITY
2020-12-01
|  | Date Obtained: | 2021-01-07
|  | Date Published: | 2021-01-18
| Location | Sample Date | pH | Electrical Conductivity (µS/cm)
MONTHLY
| Dam 1- Dam 2 | 2020-12-02 | 7.91 | 6420
| MCC12 - Final Settling Pond | 2020-12-02 | 8.16 | 3800
| No.1 Open Cut Void | 2020-12-02 | NA | NA
| No.2 Open Cut Void | 2020-12-02 | NA | NA
| MCC7 - Muscle Creek (upstream) | 2020-12-02 | 7.44 | 1910
| MCC8 - Muscle Creek (downstream) | 2020-12-02 | 7.65 | 3790
QUARTERLY (March, June, September, December)
| MCC9 - Brickworks Dam 1 | 2020-12-02 | 8.21 | 609
| MCC23 - E. Emplacement Dam (south) | 2020-12-02 | 8.83 | 8620
| MCC24 - E. Haul Road Dam | 2020-12-02 | 8.15 | 697
| MCC25 - E. Emplacement Dam (north) | 2020-12-02 | 7.58 | 827
| MCC26 - Blues Crusher Dam | 2020-12-02 | 8.23 | 2060
| MCC27 - Dam 3 | 2020-12-02 | 8.61 | 9740
| Location | Sample Date | pH | Electrical Conductivity (µS/cm) | Water Level (metres)
MONTHLY
| Underground Workings | 2020-12-02 | 6.8 | 5740 | 126.08
Comments: None
Units: µS/cm = micro siemens per centimetre NA - No Access
| NR - No result pump not running | TLTS - Too low to sample
Surface Water
Ground Water